Sample Code of Ordinances

### TITLE VI.     DEPARTMENT OF PUBLIC WORKS AND UTILITIES

- Establishment of Department

- Rules and Regulation for Water and Sewer Services

37.	Rules and Regulations for Washeteria Services

38.	Rules and Regulations for Landfill Services

39.	Rules and Regulations for the use of City Equipment

40.	City Property; Inventory and Files

4l.	(Reserved) Electricity

42.	(Reserved)Cable Television

43.	(Reserved)

44.	(Reserved)

45.	(Reserved)

Sections:

- Creation

- Chief Administrative Officer

- Powers and Duties

Section 1.  Creation.  There shall be a Department of Public Works and Utilities for the City of ____________________ which will handle all administrative functions of the _____________Public Utility which includes the following public servides:  Water, Sewer, Washeteria, Landfill, Cable Television and Electricity

Section 2. Chief Administrative Officer  The chief administrative officer of the Utility Department shall be appointed by the Mayor subject to confirmation by the City Council …  The Mayor shall serve in the absence of a duly appointed chief administrative officer.

Section 3.  Powers and Duties.  A.  The utility department handles all aspects of city public works/utilities and enforces the ordinances and policies and procedures enacted by the council.

B.  The Department of Public Works and Utilities shall administer the rules and regulations of this title and has the authority to enter into service agreements with utility customers, bill customers for service, enforce any penalties prescribed by the council for failure to pay or other infraction of the city’s rules and regulations regarding utility service.

C.  The utility clerk shall prepare and maintain files with separate inventories for each of the utility services provided by the ___________Public Utility.

D.  Each staff person shall perform the duties required under their job description and other duties as assigned by their supervisor.  Each staff person shall be compensated at the rate set by the council.

CHAPTER 36

RULES AND REGULATIONS

FOR WATER AND SEWER SERVICE

**Note:  I recommend substituting the most recent version of the RUBA recommended Water and Sewer Utility Ordinance

SECTIONS:

- Purpose

- Definitions

- Service Area

- Description of Service

- Ownership of Utility System

- Resale of Utilities

- Classification of Services

- Application for Service

- Main Extensions

- Services

- Water Meters

- Utility Rates

- Notices

- Security Deposit

- Billing and Payment

- Administration and Enforcement

- Discontinuance

- Restoration of Services

- Unusual Demands

- Access to Property

- Responsibility of Equipment

- Fire Hydrants

- Manholes and Main Lines

- Individual Waste Disposal Responsibilities

- Penalties

- Suspension of Rules

- Public Access and Utility Easement

- Immunities Preserved

- Constitutionality and Saving Clause

Schedule A - Utility Rates and Fees

Section  1.  Purpose.  The purpose of this chapter is to regulate the operation and utilization of the community water and sewer and waste disposal facilities: to provide for the collection of user charges; and to protect the public health.

Section  2.  definitions

APPLICANT: The person or persons, firm or corporation making application for utility service from the City of Shaktoolik under the terms of these regulations.

BRACKISH WATER:  Water with a high concentration of dissolved solids.  Brackish water has been filtered and chlorinated and is safe for washing and bathing but not recommended for consumption.

BULK WATER:  Water purchased in large quantities at irregular intervals.

CITY:  The City of Shaktoolik, Alaska, a state recognized second class city.

CITY COUNCIL: The seven-member governing body of the City of Shaktoolik, Alaska.

CROSS CONNECTION:  Any physical connection between the water system and the sewer system or another water source.

CUSTOMER or USER: An applicant who has been accepted and who receives utility services from the City. By being accepted and receiving services, a customer or user thereby agrees to abide by the terms set forth in these regulations.

CUSTOMER SERVICE LINE: The customer service line shall be that part of the piping from the main line to the dwelling or point of use for water and sewer utilities.  For electric utilities, the customer service line shall be that part of the wiring from the meter to the dwelling or point of use.

HONEYBUCKET WASTE:  Human waste products from a non-flushing toilet.

POTABLE WATER:  Water filtered and treated and suitable for consumption.  The water meets current standards set by Alaska Department of Environmental Conservation for public drinking water.

SEPTIC LAGOON:  An open containment cell, or cells, for the disposal and treatment of septic waste.

SEPTIC WASTE:  Waste material from a septic disposal system.

SOLID WASTE:  Garbage, rubbish, paper and waste material including all animal and vegetable refuse from food or food preparation, and dead animals.

UTILITY:  Service provided by the City of Shaktoolik to provide for the health and welfare of the residents of Shaktoolik.

Section  3.  Description of Service

The City Council shall provide the following services:

A.	Water Distribution System: The City shall provide a safe and fully operational water distribution system to users.  The water distribution system shall meet the following requirements:

1.	Quantity:  Insofar as reasonably possible, a continuous and sufficient supply of water shall be supplied to customers at adequate pressure, and any shortage or interruption of service shall be avoided.

Neither the City, nor the City Council shall be liable for damage resulting from interruption in water service due to improvements, repairs, shortages of supply, or other unforeseen circumstances. Whenever possible, and whenever time permits, all customers to be potentially affected by an interruption in service will be notified prior to shutdown through local notice posted in the Post Office or by direct contact.

2.	Quality: Safe water shall be provided at all times.  Treatment of potable water shall include filtration, chlorination and fluoridation.

B.	Washeteria: The Board shall provide a safe, clean and fully operational washeteria facility providing the following services:

1.	A laundromat with clothes washing and drying machines.

2.	Separate men’s and women’s restroom facilities with sinks, toilets and showers.

C.	Septic Disposal: The city shall provide a septage lagoon for disposal and treatment of septic waste material.  A pumper wagon shall be operated by the City  to pump the septic tanks as necessary for proper operation.  The City  shall insure that the septic waste material is properly disposed of in the septage lagoon.

D.	Solid Waste Disposal:  The City  shall provide a solid waste disposal site.   The City  may provide a pick-up service to haul containers from locations within the service area to the disposal site for an appropriate user fee.

Section  4.  Ownership of Utility Systems

All City-owned utility system components including water and sewer mains, valves, fittings, laundromat facilities, equipment, and other appurtenances, except customers' service lines, as defined in Section 1, are the property of the City .

**Section  5.  Resale of Utilities

Resale of a utility service by a customer is expressly prohibited except through special contract, in writing, between the City and the customer. The City may directly sell services to individuals or businesses, but only in those cases where application is made to the City prior to the sale, and is not done at the expense of other users.

**Section  6.  Classification of Services

The Classes of Service shall be as follows:

A. 	Residential Service: Residential Service shall consist of all services for domestic purposes supplied to a single family dwelling unit.

B. 	School Service: School service shall consist of services provided to the school and its administrative offices. School owned or operated facilities used as single family dwelling units are not included and are subject to regulations and rates governing residential service.

C. 	Commercial Service: Commercial services shall consist of all commercial or business establishments, multiple family dwelling units and city owned buildings.

If a customer is located in both a single family dwelling unit and a business establishment, the commercial rate shall apply.

D. 	Contract Service: Contract services shall consist of those services for industrial or independent uses under contracts authorized by the City Council.

**Where the requirement for services is large or unusual, or necessitates special services, equipment, or capacity, the City reserves the right to make a special contract, the provisions of which are different from and an exception to the regularly published utility rates and regulations.  All special contracts shall be in writing, signed by the applicants, and approved by the City.  The Mayor is empowered to negotiate such contracts.

Section  7.  Application for Service

Each applicant for service shall sign an application form provided by the City giving the date of application, type of service requested, location of the premises to be served (building number), the date the applicant desires services to begin, the purpose for which the service is to be used, and the address to which bills are to be sent.  In signing this form, the customer agrees to abide by these rules and regulations as currently amended. The application is a request for service, and does not bind the City to furnish the service.

Customers desiring a material change in the size, type, character, or extent of equipment or operation which would result in a material change in the service provided, shall give the City notice of such change prior to the change taking place. An amended application will be filed with the City, and any changes to the rate or deposit amount will occur prior to the change in service.  All customers desiring a change in the size, location, or the number of services shall fill out an amended application. The request for amended service may be denied if the applicant has an outstanding bill due to the City .

**Section  8.  Main Extensions

Extensions of water distribution or sewer collection mains to areas or houses not currently being served shall be installed only after application to and authorization by the City.  Utility main extensions may require advance payment by the applicant or group of applicants of the cost of the extension before they can be provided by the City.

The City will determine the proper location of main extensions.  Easements or permits secured for main extensions across property not owned by the City shall be obtained in the name of the City along with all rights and title to the main at the time of installation.

Section  9.  Services

A.	The customer shall own and maintain the customer service line.

B.	Service Installation Charge:  At the time the applicant files for service, where no service previously existed, or if he files for a change in service size or location, or if he applies for a re-connection of an existing service, he shall submit a service connection fee with his application that is based on the actual cost of the installation.  In the case of a new service, this fee will include all costs from the main to the dwelling, including the costs of a pit orifice and tapping saddle at the main and an arctic box at the dwelling, if necessary.  The service line can be installed by either the customer or the City.  Service installation charges may be waived at the discretion of the City.

C.	Service Installation Procedures: All connections to the Shaktoolik water and sewer system shall be made at the expense of the customer. Costs of the connection and the terms of the work governing the installation, including the use of self-help and use of City equipment, shall be established by the Mayor.  The City reserves the right to determine if the customer is capable of installing the service himself, and the City reserves the right to bill the customer for additional work incurred by the City to correct inappropriate, deficient, or inadequate connections.

D.	Service Installation Codes:  All individual water and sewer connections, repairs, and modifications shall be made only under the terms and conditions of the Uniform Plumbing Code currently in effect within the State of Alaska, as well as any further regulations the City may require.  Any electrical improvements shall be made in accordance with applicable Electrical Codes and Regulations.

**E.	Customer Plumbing:

1.	The customer's plumbing, which shall include the customer service line from the main to the house, and all plumbing, piping, fixtures, and other appurtenances intended to carry water, sewage, waste water, and drainage, shall comply with the Uniform Plumbing Code (UPC).

Special attention shall be given to the elimination of any possible cross connections.  The minimum requirement as required by the UPC.

2.	Customer freeze-ups, or other leaks that affect the efficiency of the Shaktoolik water or sewer system or the public health, are to be immediately repaired by the customer. The City  reserves the right to make the repairs and bill the customer for repairs and for any excess water usage that might have resulted from the situation, should the customer be unable to make the repairs; or should the customer have abandoned the service location without proper notification to the City ; or should the customer be away from the service location temporarily. It is the responsibility of the customer to notify the City immediately of any problem with the customer's plumbing that could have an adverse effect upon the system.

3.	It shall be a violation of these rules and regulations for customers to operate, cause, or permit unauthorized operations or appurtenances on the service connections.

4.	It shall be a violation of these rules and regulations for any customer to make, or remake a service connection without the prior knowledge and approval of the City as detailed by this ordinance.

5.	It shall be a violation of this ordinance for any individual to secure bulk water from the City without prior arrangements having been made.

**Section  10.  Water Meters

A.	Meter Requirement: The City is authorized to require installation of a water meter at the expense of any commercial, industrial, or school user upon the customer's line and to charge for such service at the established meter rate set forth in Schedule A.

B.	Location of Meters: Meters shall be placed either inside or under a heated building at suitable convenient places approved by the City.  The meter will not be placed where freezing or damage to the meter or its related parts may occur; nor where damage to the meter could result in a loss of water from the system.

C.	Joint use of Meters: The joining of several customers to take advantage of single minimum charges and/or large quantity rates is prohibited except under special contract, in writing, from the City.

Section  11.  Utility Rates

Utility Rates to be charged for the various classification of services are published in a separate "Schedule A".  On a periodic basis, Schedule A will be revised by the Shaktoolik City Council as needed.

**Section  12.  Notices

A.	Notices to Customers: Notices to customers from the City will normally be in writing and will be mailed or delivered to the customer at his last known address. Where conditions warrant, and in emergencies, the City may notify customers by telephone, messenger, or radio.

B.	Notices from Customers: Notices from the customer to the City may be given in writing, or verbally by the customer or his authorized representative at the Shaktoolik City office or to the Mayor.  However, notices that result in a change in service or in work being performed by the City for the Customer must be accompanied by a signed repair order or work order.

**Section  13.  Security Deposit

At the time of application for service, all new applicants shall establish their credit with the City.  Credit will be deemed to be established if the applicant makes a refundable security deposit equivalent to the estimated bill for one month of service, plus an estimate of the cost for service installation and connection fees which is non refundable.  After a period of one year, the deposit amount will be credited towards the customer's account, and deducted from future bills, providing the account has been kept current during the previous 12 month period.  No interest shall be paid on the deposit money.  In no case will the deposit be considered as a payment on account until after the initial 12 month period has passed.  Should the account be closed during the 12 months, the deposit will be applied toward the closing bill, with any excess refunded to the customer.

If an account becomes delinquent and it is necessary to discontinue the service, the deposit amount shall be applied to the unpaid balance of the account.  Service will not be restored to the premises until such time as the security deposit is replaced, along with all delinquent bills due, and payment for labor and materials expended by the City for the service disconnect/reconnect.  The account is assumed to reside with the person signing the Utility Application Form, not the premises served.

Section  14.  Billing and Payment

A.	Monthly Bills: All bills will be mailed on or before the first business day of each month. The bill will contain a statement of present charges due, including the billing for the present month. All bills are due and payable prior to the 20th of the month.

B.	Delinquent Bills: All bills not paid by the 20th of the following month of billing will be considered delinquent.

C.	Delinquent Notice: A notice of delinquency shall be mailed to each delinquent account on or after four weeks from the date the account becomes delinquent.

D.	Water Turn-off Notice: After a water utility bill has not been paid 2 weeks after the Delinquent Notice, the City shall send a Water Turn-off Notice to the customer, stating the date and time at which the service may be terminated.  The notice shall be sent to the customer by certified or registered mail, return receipt requested. If the receipt has not been received in the City office within ten days of mailing, notice shall be made by a City employee or agent, delivering or posting notice, at the customer's residence or place of business.  The City may terminate the service at any time after the date and time indicated in the turn-off notice without further notification, unless written payment arrangements are made by the customer and approved by the City. The City reserves the right to reject offers of payment that are for less than the full amount due.

**E.	Deposit for Reconnection: In all cases if service has been disconnected due to delinquency, the customer must again meet the security deposit requirements set forth in Section 13 before service will be reconnected.

**F.	Responsibility for Payment of Utility Bills: In all cases the person signing the utility application form is responsible for the utility bills regardless of who owns the property served.

Section  15.  Administration and Enforcement

**A.	These rules and regulations shall be administered and enforced by the City.  The Shaktoolik City Council, shall have the authority to establish and regulate rates for the water and sewer system and collection services for all customers, but no person shall be bound by any such rate unless it shall have been posted for public inspection for five consecutive days after its adoption, at public places within the community of Shaktoolik, Alaska.

B.	A current file of rates adopted by the City under these regulations shall be available for public inspection during regular business hours at the Shaktoolik City Office.

C.	Moneys collected for water, sewer and waste disposal services shall be used strictly for maintenance, extension, repair, capital improvement, and operation of the water, sewer and waste disposal systems. Moneys will be accounted for separately by the city.

D.	The Shaktoolik City Council may adopt such additional regulations, provisions, and procedures pertaining to water, sewer and waste disposal services as they deem proper.

Section  16.  Discontinuance

A.	Discontinuance by Customer Order: Each customer about to vacate any premises supplied with water, sewer or waste disposal services by the City shall give at least one week written notice of his intentions, specifying the date the service is to be discontinued. Otherwise, a customer will be responsible for all services supplied to such premises until a written notice is received.

Within one week of the time specified in the notice to discontinue service, a total bill (minus any deposits due to the customer) will be rendered which is due and payable immediately. The amount of the bill for the current billing period will be determined by prorating the number of days of service received in the given month (including the date of disconnect) divided by the total number of days in the month, times the usual monthly charge for the customer.   There will be a charge for this service as stated on schedule A between October 31 through June 1;  there will be no charge for disconnection of the utility otherwise.

B.	Discontinuance for Non-payment of Bills: A customer's water, sewer or waste disposal services may be discontinued if their bill is not paid in accordance with the procedures listed in Section 14.

C.	Discontinuance for Unsafe Customer Facilities:

1.	Unsafe Facilities or Unsanitary Facilities: The City may discontinue services to any premises without prior notice where plumbing facilities, appliances, or equipment, using water or discharging waste water, are dangerous, unsafe, or not in conformity with standard plumbing practice.

2.	Cross Connections: A cross connection is defined as any physical connection between the water system and any non-potable water including sewer systems.  Such cross connections are unlawful.  The City will discontinue service to any persons or premises where a cross connection exists.  Service will not be restored until the cross connection is eliminated.

D.	Discontinuance for Water Waste: Where water is wastefully or negligently used on a customer's premises seriously affecting the general service, the City may discontinue service if such conditions are not corrected after notice by the City.  Allowing water to run continuously rather than providing reasonable and proper insulation is considered wasting water.  At the option of the City, a customer may be allowed to continue service if he has installed a meter at his expense (as prescribed in Section 10) and he pays a rate based upon consumption.

E.	Discontinuance for Service Detrimental to Others: The City may refuse to furnish water, restrict water service, or immediately terminate service to any premises where excessive demands by a customer will result, or have resulted, in inadequate service to other customers.  The determination of excessive demand may vary depending on current City water resources and water and sewer system equipment conditions.

F.	Discontinuance for Fraud or Abuse: The City will refuse or discontinue service to any customer or premises where it is deemed necessary to protect the City from fraud or abuse of service.  Discontinuance of service for one or both of these causes will be made immediately upon receipt of knowledge by the City that such condition or conditions exist.

G.	Discontinuance  for  Unauthorized  Turn-on:   Where water service has been discontinued for any reason and the water is turned on by the customer or another unauthorized person, the water may then be turned-off at the main, without notice to the customer. The charges for shut-off at the main will be billed at the actual cost for labor and materials plus 50%, billed to the offending customer.  The charges for water consumed through such illegal connection will be at 150% of the regular rate for the period of time, as estimated by the City, that such illegal or unauthorized connection existed.  The City may seek additional legal remedies in such cases.

H.	Discontinuance for Non-compliance:  Unless otherwise specified by specific sections of these rules and regulations, a customer may have service discontinued for violation of any provision of these rules and regulations following five days notification of such impending termination of service. Proper notice is specified in Section 12 of these regulations.

Section  17.  Restoration of Services

@Restoration of service following discontinuance by customer order shall not require a reconnection fee if the discontinuation was for less than or more than two months(?) and doesn’t require digging up the water main.  Restoration of service for any other reason shall require a reconnection fee.  Restoration of service following discontinuance for non-payment of bills shall be made only after payment of current and past due charges, the reconnection fee, and a security deposit as herein provided.

Restoration following discontinuance because of unsafe facilities, water waste, fraud, abuse, or non-compliance with these rules and regulations will be made only after: the irregularity has been corrected; any associated charges for disconnection or repairs undertaken by the City have been paid; and the City has been assured that the irregularity will not occur again.

The property owner shall provide access to arctic boxes for connection or reconnection of services including the removal of all snow drifts around the box.

The customer is responsible for insuring that services are in good condition prior to restoration of services.  Any costs for cleaning or thawing a service line prior to reconnection shall be paid by the customer.

Section  18.  Unusual Demands

Whenever an abnormally large quantity of water is desired for filling a water storage tank, or for any other purpose, arrangements must be made with the City prior to taking the water. Permission to take water in large quantities will be given only if other customers are not inconvenienced. Purchases of large quantities of water, even if to an existing customer, may be billed under a separate category and for a separate amount from the customer's usual rate.

Section  19.  Access to Property

All duly appointed employees or agents of the City shall have free access at all reasonable hours of the day to exterior parts of a customer's building related to utility service (i.e. arctic box, electric meter, etc.) for the purposes of reading meters, inspecting connections, piping and fixtures, and to determine the manner and extent to which the utility is being used.  When it is necessary to enter a customer's building for the same purposes, the customer will be given notice in accordance with Section 12.  The city does not assume the duty of inspecting the customer's service line, plumbing, or equipment and shall not be responsible for these.

In the event that a customer refuses to provide access to the City in a reasonable period of time, the service may be discontinued for non-compliance with these Regulations in accordance with Section 16.

Section  20.  Responsibility for Equipment

A.	Responsibility for Customer Equipment: The city shall not be liable for any loss or damage of any nature whatsoever caused by any defect in the customer's service line, plumbing, or equipment, nor shall the City be liable for loss or damage due to interruption of service or temporary changes in water pressure.

B.	The customer shall be responsible for the condition of the plumbing system on his premises when water service is turned on. All drain valves should be closed to prevent water damage.

**C.	The customer shall be responsible for maintaining proper heat within his property to insure that pipes do not freeze up, causing harm or damage to the Shaktoolik water or sewer system as well as to the customer's premises.  Electrical heat tape shall be energized as necessary to prevent utility lines from freezing.  The customer shall pay for all costs associated with keeping his service lines from freezing.  The city may hold the customer liable for any damage or loss to the City caused by customer freeze-up.

@Section  21.  Fire Hydrants??

A.	Operation: No person or persons other than those designated and authorized by the City shall attempt to draw water from a hydrant belonging to the City or in any manner damage or tamper with the hydrant.  Any violation of this regulation will be penalized according to these Regulations.  In cases where temporary service has been granted from a fire hydrant, an auxiliary external valve will be used to control the flow of water.

B.	Damage to Fire Hydrants: Any person who damages a fire hydrant shall be responsible for the cost of its complete repair and return to service.  This is in addition to the penalties outlined in Section 24.

**Section  22.  Manholes and Main Lines

A.	Operation: No person or persons other than those designated and authorized by the City shall place any substance including, but not limited to, animal and fish carcasses, refuse or trash, rocks or gravel, or honeybucket wastes in any manhole or main line, or in any manner damage or tamper with the manhole or main line.  Any violation of this regulation will be penalized according to these Regulations.

B.	Damage to Manholes and Main Lines: Any person who damages a manhole or main line or any of the attachments or appurtenances thereof, shall be responsible for the cost of its complete repair and return to service. This is in addition to the penalties outlined in Section 24.

D.	Dumping Refuse, Chemicals, or Trash into Sewer Lines or Septic System:  Any person who damages a sewer main or interrupts sewer service through placing trash, refuse, animal carcasses, rocks or other matter not intended to be placed in a sewer will be responsible for all damages and repairs to the sewer lines and treatment works that are a consequence of his act.

Section 23.  Individual Waste Disposal Responsibilities

In the event that the city does not provide a solid waste or honeybucket waste pick-up service, the users should be responsible for the following:

A.	Waste material should be stored in a secure covered container with a tight fitting lid and located at least 10 feet from the water arctic box.

B.	Wastes should be hauled to the designated disposal area and deposited at the location as directed by the city.

**Section  24.  Penalties

Any person violating sections of these rules and regulations shall, upon adjudication by the City and after notice and opportunity for a hearing, be subject to a civil penalty not to exceed $300. Each separate incidence and each separate day upon which an offense occurs shall be a separate offense.

Section  26.  Suspension of Rules

No employee of the City is authorized to suspend or alter any of the provisions herein without specific approval or direction of the City Council, except in cases of emergency involving loss of life or property or which put the water and sewer system operation in jeopardy.

Section  29.  Constitutionality and Saving Clause

If any clause, sentence, paragraph, section, or portion of these rules and regulations for any reason is judged to be invalid by a court of competent jurisdiction, such judgment shall not affect, impair, or invalidate the remainder of this document but shall be confined in its operation to the clause, sentence, paragraph, or portion of these rules and regulations directly involved in the controversy in which the judgment is rendered.

**CITY OF SHAKTOOLIK

SCHEDULE A - UTILITY RATES & FEES

As of ____________, ___ 1997

A1 - Security Deposit

A.	Residential Service	One month's service fee

B.	School Service	One month's expected service fee or

$200, whichever is greater

C.	Commercial Service	One month's expected service fee or

$200, whichever is greater

D.	Contract Service	As determined by Contract

A2 - Water and Sewer Rates*

A.	Water Dispensing at Watering Point	No Charge

B.	Residential Service	$65 per month**

C.	School Service (metered)

Potable Water	$1,800 per month plus $0.20 per gal. over 18,000 gallons

D.	Commercial Service	$150 per month or $0.10 per gallon whichever is greater

D1	Commercial Service Deposit	$150 per month or $0.10 per gallon whichever

is greater

E.	Contract Service	As determined by Contract

F.	Bulk Water Sales (metered)

Potable Water	$0.25 per gallon

*	Includes payment for both water and sewer service.  Fees shall not be reduced when only water or only sewer service is provided.

**	A prepayment equal to 5 times the monthly fee shall cover 6 months and a prepayment equal to 10 times the monthly fee shall cover 12 months.

A3 - Non Recurring Water & Sewer Fees

A.	Water Service Reconnect	$30

B.	Water Service Connect or Reconnect Deposit	$65

C.	Service Installation Fee (water or sewer)	Estimated Construction Cost

D.	Unscheduled Service Work

(thawing, repair, cleaning, etc.)	Actual Cost of Work up to $200 per occurrence

- Water Meter Installation	Actual Cost of Work up to $100 per installation

F.  Customer initiated disconnect fee

A4 - Washeteria Fees

A.	Washing Machine

Large Capacity (Wascomat)	$3.00 per load

Medium Capacity (Speed Queen)	$1.50 per load

B.	Drying Machine	$0.75 per cycle

C.	Laundry Sink (Hot water hauling not allowed)	No charge

D.	Shower	$1.00 for 6 minutes

E.	Bath	$1.00 for 6 minutes

A5 - Septic Waste Disposal Fees

A.	Septic Tank Waste Disposal (disposal fee only)	$0.40 per gallon

B.	Septic Tank Waste Pumping and Disposal by City

(includes labor, pumping, equipment rental and

disposal by City)	$1.00 per gallon

A6 - Solid Waste Pickup & Disposal Fees (For Future Development)

A.	Residential Service

Disposal Only	No charge

Pickup and Disposal 	$       per month

B.	School Service

Disposal Only	$       per month

Pickup and Disposal	$       per month

C.	Commercial Service

Disposal Only	$       per month

Pickup and Disposal	$       per month

D.	Contract Service	As determined by Contract

E.	Bulk Waste Service

Disposal Only	$10.00 per cubic yard

Pickup & Disposal	$30.00 per cubic yard or actual cost (whichever is greater)

A7 - Labor & Equipment Rates - Rates Effective October 1, 1991

A.	Labor

Laborer 	$15.00 per hour

Operator (For Heavy Equipment )	$20.00 per hour

B.	Equipment (Without Laborer)

Steam Thawing Machine	$20.00 per hour

4 Wheeler 	$65.00 per day

Snow Machine	$65.00 per day

Generator	$10.00 per hour

C.	Heavy Equipment (Without Operator) Refer to Current City Rate Schedule

Front End Loader (JD 544C)	$130.00 per hour

Dozer (JD 450 D)	$75.00 per hour

Dozer w/backhoe (JD 450 D)	$100.00 per hour

Dump Truck (5 C.Y.)	$72.00 per hour

CHAPTER 38

RESERVED

**CHAPTER 39

CITY EQUIPMENT

Sections:

l.	Recognition.

2.	Use of equipment.

.	3.	Rental of equipment.

4.	City clerk.

Section l.     Recognition.

The City Council of _______ recognizes that:

A.	The City of __________________owns various trucks, loaders, tractors and other equipment; that

B.	many times city owned equipment is the only equipment available for use on construction projects in _______; that

C.	private contractors, individual citizens, the State of Alaska and the United States government often desire to use city owned equipment for use on construction projects and; that

D.	the cost of operation and maintenance of equipment in _______ is high.

Section 2.     Use of equipment.

Individuals, contractors, agencies of the State of Alaska or the United State government may make application to the Mayor of _______ for use of city equipment.

Section 3.     Rental of equipment.

Rental agreements for use of city equipment shall be prepared by the Mayor and approved by the City Council. Rates to be charged for equipment are published in a separate "Schedule A".  On a periodic basis, Schedule A will be revised by Resolution of  the ____________City Council as neededRenters   The rental of equipment shall be at the discretion of the Mayor and subject to such additional terms and conditions as he may deem appropriate.

Section 4.     Rental Agreement File - City Clerk.

The City Clerk shall keep a file of blank rental agreements, completed and current rental agreements and rental rates.

CHAPTER 40

City Property; Inventory and Files

Sections:

l.	Inventory; files.

2.	Additional files.

3.	Register

Section l.     Inventory; files.

The Office of the City Clerk shall prepare and maintain files which contain separate inventories and listings of all real properties, capital improvements, and equipment belonging to the City.

At a minimum these files shall contain:

A.	the date of acquisition of the property, improvement, or equipment;

B.	the condition at time of acquisition;

C.	the original cost whether borne by the City or paid by a donor agency such as, Village Safewater or another state or federal agency including a budget breakdown by categories of individual costs such as labor, materials, freight, etc.;

D.	costs of subsequent repairs and improvements after acquisition;

E.	a listing of past, current and future repair, renovation, replacement or improvement needed, and in the case of current or future repair, renovation, replacement or improvement, estimates or quotations of costs.

Section 2.     Additional  files.

The Office of the City Clerk shall maintain additional files to the inventories and listings which shall include all supportive documents such as warranties, maintenance schedules, licenses, insurance coverage etc.  These files shall be so maintained that any supportive information concerning a city property may be immediately retrieved.  These files shall contain information, price lists, names, addresses and phone numbers about parts and suppliers.

Section 3.     Register.

The Office of the City Clerk shall maintain a register which lists the locations, costs, dates of acquisition, serial numbers, etc. of all non expendable city properties individually valued at more than $50.00 as of the date of acquisition.  The City Clerk may provide for property control numbers or such other system of labeling city properties as the Council deems appropriate.

CHAPTER 4l

(Reserved)

CHAPTER 42

(Reserved)

CHAPTER 43

(Reserved)

CHAPTER 44

(Reserved)

CHAPTER 45

(Reserved)